## Slide 1
Floating Hole Multiplier – a novel concept for dual-phase noble liquid detectors
V. Chepel1, G.Martinez-Lema2,3, A. Roy2,3, A. Breskin2
1Department of Physics of University of Coimbra and LIP, Coimbra, Portugal
2Dept. of Astrophysics and Particle Physics, Weizmann Institute of Science, Rehovot, Israel
3Unit of Nuclear Engineering, Ben-Gurion University of the Negev, Beer-Sheva, Israel
CERN/FIS-INS/0026/2019

## Slide 2
Generally accepted configuration of a 2-phase detector
(for DM search, at least)
LXe
Electron emission efficiency vs

## Slide 3
Motivation
Liquid surface is inconvenient but the benefits were worth of suffering (until now, at least).
There is a number of problems associated with it both of physical and technical nature:
The liquid-gas interface must be in a strong E field for efficient electron extraction; present solution – parallel multiwire electrodes at 5 mm  wire sagging; worse for bigger detectors
Insufficient field  electron trapping under the surface
Charge drift/diffusion under the surface,
Ripples, acoustic effects, instabilities in strong E field
These effects can contribute to spontaneous single electron emission from the liquid

## Slide 4
The idea
In general terms – better control of what is happaning on the surface
Ideally, one would like to physically separate the two phases with, say, a membrane transparent for light and electrons but not for Xe or Ar atoms.
However, the liquid phase and the gas should be in thermal equilibrium (in the region of their contact, at least)  problem of condensation in gas and bubble formation in the liquid
Finally – what this membrane could be?
Maybe, holes for electrons?  GEM. THGEM, etc
How do we control the liquid level precisely to have liquid below and gas above it?
What if we just let the liquid to decide what is the right electrode position?
Make the electrode float!

## Slide 5
If we still in love with 2-phases – what can we do?
How do we gain a better control of what is happening on the surface?
Ideally, one would like to separate the two phases with, say, a membrane transparent for light and electrons but not for Xe or Ar atoms.
Big question – what this membrane might be?
The liquid phase and the gas should be in thermal equilibrium (in the region of their contact, at least)  problem of gas condensation above the membrane and bubble formation in the liquid
Maybe, holes for electrons?  GEM, THGEM, etc
How do we control the liquid level precisely to have liquid below and gas above it?
Go natural, let it float !

## Slide 6
The idea
LXe density 2.9 g/cm3
FR4 density 2.00.2 g/cm3 - dielectric material used to make THGEM
If copper cladding is not too heavy  THGEM should float on the surface of LXe
How do we know that the liquid interface will stay between the two copper electrodes?
How do we know the liquid will enter the hole?
How do we know that the liquid will not spill over THGEM?
How do we know what is liquid surface profile in the hole?
Too many questions… Just try it!

## Slide 7
“Fundamentals”
LXe density 2.9 g/cm3
FR4 density 2.00.2 g/cm3 - dielectric material used to make THGEM
If copper cladding is not too heavy  THGEM should float on the surface of LXe
copper
FR4
Possible advantages of THGEM on the surface:
  Free liquid surface is much reduced 
    No worry about surface instabilities (e.g. waves, ripples, microexplosions)
    No undersurface electron drift (possible cause for “spontaneous” single electron emission
  + If floating :
  No need for fine tilt adjustment
  No need for keeping the liquid at a well defined and constant level
  No sagging (does not matter even there were some)

## Slide 8
THGEM:
0.4 mm thick
0.3 mm holes, 0.1 mm rim
1.0 mm pitch
34 mm
Two 20 m wires
connected to the two TGEM electrodes
Experimental setup

## Slide 9
Experimental setup – voltages
THGEM position with LXe below the cathode
Floating THGEM
or 0
E
0
-2900
-2500
0 to +…
tipical voltages:

## Slide 10
V
Estimated liquid thickness 6.8 mm
See something?
PMT signal

## Slide 11
PMT waveforms for different liquid levels
S1
S2
No S2 for fully covered THGEM
Drift time in the liquid
more LXe

## Slide 12
Field computation (COMSOL)
LXe level
Field strength (kV/cm)
Too weak to generate electroluminescence in liquid xenon
(is needed)
Fields near the interface:

## Slide 13
Waveform evolution with field above THGEM
S1
S2
THGEM
holes
Uniform field above

## Slide 14
Vmesh(V)
S2 area as function of the field above THGEM
Number of photoelectrons
Light in the uniform field
Light in THGEM holes
~20x more light above THGEM than in the holes
Reversed extraction field
zoom
Most of the light is produced in the holes and not in their vicinity

## Slide 15
S2 area – resolution
Light in the holes only

## Slide 16
S2 area as function of voltage across THGEM – dielectric retraction?

## Slide 17
Benefits
Significantly smaller free liquid surface – reduced probability of any kind of surface instabilities (ripples, waves, microexplosions, etc.)
Electron drift/diffusion under the surface – eliminated or made local (within the hole pitch)
High electron extraction probability thanks to high field at the interface (unreachable in uniform field)
Positive ion feedback (if any) – likely to end up at the floating electrode
Result – reduced single electron noise
Parallelism between gate and extraction electrodes – guaranteed for any dimensions
No sagging
No need for fine detector levelling and liquid level control

## Slide 18
Remaining questions/futher work
Opacity for VUV (S1 problem) – CsI photocathode? Quartz substrate?
Physics – meniscus profile, wettability, E field effect, electron transmission efficiency
Structure optimization – thicker THGEM? Bigger holes?
Works in LAr (1.4 g/cm3)?
floaters
LAr or LXe
LAr or LXe

## Slide 19
Conclusions
1. Prove of principle – successful
2. Next – study details – physics and optimization
3. There is more to floating …